M5 HiPer Apyrase 三磷酸腺苷双磷酸酶（0.5u/ul）

使用说明书

产品名称                      单位     货号

M5 HiPer Apyrase 三磷酸腺苷双磷酸酶（0.5u/ul） 20ul   MF342-01

【储存条件】

-20℃

【产品组分】

M5 HiPer Apyrase (0.5u/ul)      20ul

10x Apyrase Reaction Buffer     1ml

【产品简介】

Apyrase (recombinant, E. coli) is a highly active ATP-diphosphohydrolase that catalyses the sequential hydrolysis of ATP to ADP and ADP to AMP releasing inorganic phosphate. It is a recombinant version of one of several isoforms of apyrase. It can also hydrolyse 5´ tri- and diphosphate ribonucleosides and deoxyribonucleosides to their respective 5´ monophosphates. Apyrase can catalyse the conversion of 5´ triphosphorylated RNA to 5´ monophosphorylated RNA by sequential removal of γ and β phosphates.

【产品来源】

Isolated from a strain of E. coli that carries the coding sequence for potato S. tuberosum apyrase.

【贮存溶液】

20 mM MES，50 mM NaCl，0.1 mM CaCl2，1 mM DTT，0.1% Tween® 20，50% Glycerol，pH 6.5 @ 25°C

【产品特点】

Enzyme of highest purity, efficiency and quality, Tested in updated range of more stringent quality controls. Supplied at 10-fold higher concentration in the optimized storage buffer. Supplied with new optimal reaction buffer, Provided with updated, detailed characterization,Discovered and characterized a new function: the ability to convert 5’ triphosphorylated RNA to monophosphorylated form, which can be ligated or removed by 5’ exonuclease.

【应用特性】

Highly efficient degradation of ATP to AMP.

Removal of deoxynucleotides in DNA pyrosequencing between cycles.

Conversion of 5´ triphosphorylated RNA to ligatable monophosphorylated form that can be used for 5´ RNA adaptor ligation.

Conversion of 5´ triphosphorylated RNA to 5´ exonuclease XRN-1 sensitive monophosphorylated RNA.

【单位定义】

One unit is defined as the amount of enzyme that catalyses the release of 1 μmol of inorganic phosphate from ATP (1 mM) in 1X Apyrase Reaction Buffer in 1 minute at 30°C in a total reaction of 50 μl.

【反应条件】 1X Apyrase Reaction Buffer，Incubate at 30°C。

1X Apyrase Reaction Buffer： 20 mM MES，50 mM NaCl，5 mM CaCl2，1 mM DTT，0.05% Tween® 20，(pH 6.5 @ 25°C)

【反应体系】

M5 HiPer Apyrase (0.5u/ul)         1 µl

10x Apyrase Reaction Buffer        2 µl

含ATP的底物                  1 nmol

dH2O（灭菌蒸馏水）          up to 20µl

30℃孵育 30～40 min 使底物去磷酸化。

【热失活】   65°C for 20 min

【分子量】   47 kDa

【比活度】   3,000 units/mg

【注意事项】

Apyrase has a higher ratio of activity for ATP:ADP (14:1).Apyrase is a calcium-activated enzyme. It is approximately 50% active when Mg2+ substitutes Ca2+ in Apyrase Reaction Buffer.As a metal-dependent enzyme Apyrase can be inhibited by EGTA and EDTA.The activity of Apyrase is approximately 30% in Mei5Buffers 1.1, 2.1, 3.1 and CutSmart Buffer.Apyrase does not remove 5´ caps from eukaryotic mRNA.

【备注】

本产品仅供科研使用。在确认产品质量出现问题时，本公司承诺为客户免费更换等量的质量合格产品。